## Data
CLSI EP10-A3 - Appendix B
Run | Sequence | Level | Ethanol (mg/dL)
1 | 1 | High | 92
1 | 2 | Low | 9
1 | 3 | Mid | 54
1 | 4 | Mid | 56
1 | 5 | Low | 10
1 | 6 | Low | 9
1 | 7 | High | 92
1 | 8 | High | 95
1 | 9 | Mid | 59
2 | 1 | High | 92
2 | 2 | Low | 9
2 | 3 | Mid | 54
2 | 4 | Mid | 54
2 | 5 | Low | 9
2 | 6 | Low | 8
2 | 7 | High | 91
2 | 8 | High | 92
2 | 9 | Mid | 56
3 | 1 | High | 93
3 | 2 | Low | 9
3 | 3 | Mid | 54
3 | 4 | Mid | 54
3 | 5 | Low | 9
3 | 6 | Low | 9
3 | 7 | High | 92
3 | 8 | High | 96
3 | 9 | Mid | 58
4 | 1 | High | 90
4 | 2 | Low | 9
4 | 3 | Mid | 54
4 | 4 | Mid | 55
4 | 5 | Low | 9
4 | 6 | Low | 9
4 | 7 | High | 92
4 | 8 | High | 94
4 | 9 | Mid | 52
6 | 1 | High | 92
6 | 2 | Low | 9
6 | 3 | Mid | 52
6 | 4 | Mid | 55
6 | 5 | Low | 9
6 | 6 | Low | 9
6 | 7 | High | 92
6 | 8 | High | 94
6 | 9 | Mid | 53

## Ethanol
MSA: Ethanol | [6 empty] | v4.00
CLSI EP10-A3 - Appendix B
Last updated 30 June 2015 at 9:58 by Simon Huntington
Descriptives
| N | 45
| Design | 3 x 5 x 3
| Measuring interval | 9 | 92
Precision
| Level | Mean | SD / CV | 95% CI |  | Allowable imprecision
| Low | 9 | 4.223% | 3.271% | 8.52% | 8%
| Mid | 54.6667 | 3.592% | 2.782% | 7.27% | 3%
| High | 92.6 | 1.741% | 1.376% | 3.138% | 2%
* Performance requirement not met.
Abbreviated components
| Mean | Repeatability SD | Repeatability CV | Within Laboratory SD | Within Laboratory CV
| 9 | 0.36515 | 4.057% | 0.38006 | 4.223%
| 54.6667 | 1.8797 | 3.439% | 1.9636 | 3.592%
| 92.6 | 1.6125 | 1.741% | 1.6125 | 1.741%
Profile
Trueness
| Assigned value | Mean | Bias | 95% CI |  | Allowable bias
| 9 | 9 | 0 | -0.29266 | 0.29266 | 2
| 50.5 | 54.6667 | 4.1667 | 2.6459 | 5.6874 | 4
| 92 | 92.6 | 0.6 | -0.55593 | 1.7559 | 5
* Performance requirement not met.
Fit Model
Linear fit
| SE | 2.3548
| Parameter | Estimate | SE | t | DF | p-value
| Constant | 1.2238 | 0.63003 | 1.9425 | 43 | 0.058643
| X | 1.0072 | 0.01036 | 0.69779 | 43 | 0.48907
2nd order polynomial fit
| SE | 1.4551
| Parameter | Estimate | SE | t | DF | p-value
| Constant | -1.924 | 0.54028 | -3.5611 | 42 | 0.00093409
| X | 1.234 | 0.027735 | 8.4366 | 42 | 1.3871e-10
| X2 | -0.0022451 | 0.00026718 | -8.4029 | 42 | 1.5439e-10
0
100
0
100
9
9
9
9
9
9
9
9
9
9
9
9
9
9
9
50.5
50.5
50.5
50.5
50.5
50.5
50.5
50.5
50.5
50.5
50.5
50.5
50.5
50.5
50.5
92
92
92
92
92
92
92
92
92
92
92
92
92
92
92
9
10
9
9
9
8
9
9
9
9
9
9
9
9
9
54
56
59
54
54
56
54
54
58
54
55
52
52
55
53
92
92
95
92
91
92
93
92
96
90
92
94
92
92
94
9
92
10.2889
93.8889
9
9
9.83
10.66
11.49
12.32
13.15
13.98
14.81
15.64
16.47
17.3
18.13
18.96
19.79
20.62
21.45
22.28
23.11
23.94
24.77
25.6
26.43
27.26
28.09
28.92
29.75
30.58
31.41
32.24
33.07
33.9
34.73
35.56
36.39
37.22
38.05
38.88
39.71
40.54
41.37
42.2
43.03
43.86
44.69
45.52
46.35
47.18
48.01
48.84
49.67
50.5
51.33
52.16
52.99
53.82
54.65
55.48
56.31
57.14
57.97
58.8
59.63
60.46
61.29
62.12
62.95
63.78
64.61
65.44
66.27
67.1
67.93
68.76
69.59
70.42
71.25
72.08
72.91
73.74
74.57
75.4
76.23
77.06
77.89
78.72
79.55
80.38
81.21
82.04
82.87
83.7
84.53
85.36
86.19
87.02
87.85
88.68
89.51
90.34
91.17
92
9
9
9.9891
10.9751
11.9581
12.9379
13.9147
14.8883
15.8589
16.8263
17.7907
18.752
19.7102
20.6653
21.6173
22.5662
23.512
24.4547
25.3943
26.3309
27.2643
28.1947
29.1219
30.0461
30.9671
31.8851
32.8
33.7118
34.6205
35.5261
36.4286
37.328
38.2243
39.1175
40.0077
40.8947
41.7787
42.6595
43.5373
44.4119
45.2835
46.152
47.0174
47.8797
48.7389
49.595
50.448
51.2979
52.1447
52.9885
53.8291
54.6667
55.5011
56.3325
57.1607
57.9859
58.808
59.627
60.4429
61.2557
62.0654
62.872
63.6755
64.4759
65.2733
66.0675
66.8587
67.6467
68.4317
69.2135
69.9923
70.768
71.5406
72.3101
73.0765
73.8398
74.6
75.3571
76.1111
76.8621
77.6099
78.3547
79.0963
79.8349
80.5703
81.3027
82.032
82.7582
83.4813
84.2013
84.9182
85.632
86.3427
87.0503
87.7549
88.4563
89.1547
89.8499
90.5421
91.2311
91.9171
92.6
9
50.5
92
0
0
0
9
50.5
92
9
54.6667
92.6
0
100
0
0
9
9
9
9
9
9
9
9
9
9
9
9
9
9
9
50.5
50.5
50.5
50.5
50.5
50.5
50.5
50.5
50.5
50.5
50.5
50.5
50.5
50.5
50.5
92
92
92
92
92
92
92
92
92
92
92
92
92
92
92
0
1
0
0
0
-1
0
0
0
0
0
0
0
0
0
3.5
5.5
8.5
3.5
3.5
5.5
3.5
3.5
7.5
3.5
4.5
1.5
1.5
4.5
2.5
0
0
3
0
-1
0
1
0
4
-2
0
2
0
0
2
9
92
1.2889
1.8889
9
9
9.83
10.66
11.49
12.32
13.15
13.98
14.81
15.64
16.47
17.3
18.13
18.96
19.79
20.62
21.45
22.28
23.11
23.94
24.77
25.6
26.43
27.26
28.09
28.92
29.75
30.58
31.41
32.24
33.07
33.9
34.73
35.56
36.39
37.22
38.05
38.88
39.71
40.54
41.37
42.2
43.03
43.86
44.69
45.52
46.35
47.18
48.01
48.84
49.67
50.5
51.33
52.16
52.99
53.82
54.65
55.48
56.31
57.14
57.97
58.8
59.63
60.46
61.29
62.12
62.95
63.78
64.61
65.44
66.27
67.1
67.93
68.76
69.59
70.42
71.25
72.08
72.91
73.74
74.57
75.4
76.23
77.06
77.89
78.72
79.55
80.38
81.21
82.04
82.87
83.7
84.53
85.36
86.19
87.02
87.85
88.68
89.51
90.34
91.17
92
1.5987e-14
1.5987e-14
0.15912
0.31515
0.46808
0.61792
0.76467
0.90832
1.0489
1.1863
1.3207
1.452
1.5802
1.7053
1.8273
1.9462
2.062
2.1747
2.2843
2.3909
2.4943
2.5947
2.6919
2.7861
2.8771
2.9651
3.05
3.1318
3.2105
3.2861
3.3586
3.428
3.4943
3.5575
3.6177
3.6747
3.7287
3.7795
3.8273
3.8719
3.9135
3.952
3.9874
4.0197
4.0489
4.075
4.098
4.1179
4.1347
4.1485
4.1591
4.1667
4.1711
4.1725
4.1707
4.1659
4.158
4.147
4.1329
4.1157
4.0954
4.072
4.0455
4.0159
3.9833
3.9475
3.9087
3.8667
3.8217
3.7735
3.7223
3.668
3.6106
3.5501
3.4865
3.4198
3.35
3.2771
3.2011
3.1221
3.0399
2.9547
2.8663
2.7749
2.6803
2.5827
2.482
2.3782
2.2713
2.1613
2.0482
1.932
1.8127
1.6903
1.5649
1.4363
1.3047
1.1699
1.0321
0.89115
0.74712
0.6
9
50.5
92
-6
-6
-6
9
50.5
92
0
4.1667
0.6
9
54.6667
92.6
0.38006
1.9636
1.6125
9
54.6667
92.6
0.36515
1.8797
1.6125
9
54.6667
92.6
0.72
1.64
1.852
0
100
0
0
9
50.5
92
-6
-6
-6
9
50.5
92
0
4.1667
0.6
7.0247
10.9753
7.0247
10.9753
9
9
48.5247
52.4753
48.5247
52.4753
50.5
50.5
90.0247
93.9753
90.0247
93.9753
92
92
0.29266
0.29266
-0.29266
-0.29266
-0.29266
0.29266
5.6874
5.6874
2.6459
2.6459
2.6459
5.6874
1.7559
1.7559
-0.55593
-0.55593
-0.55593
1.7559
9
50.5
92
9
50.5
92
-2
-4
-5
2
4
5
*
*