## Data
Hsieh-Liu
X | B-HCG
1 | 1
1 | 0.99
2 | 1.6
2 | 1.59
3 | 2.5
3 | 2.6
4 | 4.36
4 | 4.39
5 | 5.1
5 | 5

## B-HCG
1
MSA: B-HCG | [7 empty] | v6.21.2 | 1
2
Hsieh-Liu | [8 empty] | 2
Filter: No filter | [8 empty] | 3
3
Last updated 10 September 2026 at 14:24 by Analyse-it Software, Ltd. | [8 empty] | 4
4
5
Descriptives | [8 empty] | 5
1
0.99
1.6
1.59
2.5
2.6
4.36
4.39
5.1
5
1
5
0.735
5.091
1
1
1.04
1.08
1.12
1.16
1.2
1.24
1.28
1.32
1.36
1.4
1.44
1.48
1.52
1.56
1.6
1.64
| N | 10 | [6 empty] | 1.68
| Design | 5 X x 2 Observations | [6 empty] | 1.72
1.76
| Measuring interval | 1 | 5 | [5 empty] | 1.8
1.84
Linearity | [8 empty] | 1.88
1.92
1.96
2
2.04
2.08
2.12
2.16
2.2
2.24
2.28
2.32
2.36
2.4
2.44
2.48
2.52
2.56
2.6
2.64
2.68
2.72
2.76
| X | Linear fit | Nonlinear fit (3rd order polynomial) | Nonlinearity | 90% CI |  | Allowable nonlinearity | TOST p-value | 2.8
| 1 | 0.735 | 1.0312 | 0.29621 | 0.14271 | 0.44972 | 0.4 | 0.11846 | 2.84
| 2 | 1.824 | 1.4501 | -0.37386 | -0.54357 | -0.20415 | 0.4 | 0.38739 | 2.88
| 3 | 2.913 | 2.7673 | -0.14571 | -0.27783 | -0.013596 | 0.4 | 0.0048113 | 2.92
| 4 | 4.002 | 4.2301 | 0.22814 | 0.058433 | 0.39785 | 0.4 | 0.048324 | 2.96
| 5 | 5.091 | 5.0862 | -0.0047857 | -0.15829 | 0.14872 | 0.4 | 0.0012227 | 3
3.04
| H0: ¦μN - μL¦ ≥ ε The difference between the linear and nonlinear fit is not within the allowable nonlinearity. H1: ¦μN - μL¦ < ε The difference between the linear and nonlinear fit is within the allowable nonlinearity. | [7 empty] | 3.08
| 1 Reject the null hypothesis in favor of the alternative at the 5% significance level. | [7 empty] | 3.12
| 2 Do not reject the null hypothesis at the 5% significance level. | [7 empty] | 3.16
3.2
Fit Model | [8 empty] | 3.24
3.28
| Linear fit | [7 empty] | 3.32
3.36
| RMSE | 0.31539 | [6 empty] | 3.4
3.44
| Parameter | Estimate | SE | t | DF | p-value |  |  | 3.48
| Constant | -0.354 | 0.2339 | -1.5134 | 8 | 0.16862 |  |  | 3.52
| X | 1.089 | 0.070524 | 1.262 | 8 | 0.24251 |  |  | 3.56
3.6
| Source | SS | DF | MS | F | p-value |  |  | 3.64
| Lack of fit | 0.78524 | 3 | 0.26175 | 124.0506 | 4.103e-05 |  |  | 3.68
| Pure error | 0.01055 | 5 | 0.00211 |  |  |  |  | 3.72
| Model error | 0.79579 | 8 | 0.099474 |  |  |  |  | 3.76
3.8
| 2nd order polynomial fit | [7 empty] | 3.84
3.88
| RMSE | 0.30406 | [6 empty] | 3.92
3.96
| Parameter | Estimate | SE | t | DF | p-value |  |  | 4
| Constant | 0.156 | 0.46113 | 0.3383 | 7 | 0.74506 |  |  | 4.04
| X | 0.65186 | 0.35141 | -0.9907 | 7 | 0.35483 |  |  | 4.08
| X2 | 0.072857 | 0.057462 | 1.2679 | 7 | 0.24537 |  |  | 4.12
4.16
| Source | SS | DF | MS | F | p-value |  |  | 4.2
| Lack of fit | 0.63661 | 2 | 0.31831 | 150.8558 | 3.3931e-05 |  |  | 4.24
| Pure error | 0.01055 | 5 | 0.00211 |  |  |  |  | 4.28
| Model error | 0.64716 | 7 | 0.092452 |  |  |  |  | 4.32
4.36
| 3rd order polynomial fit | [7 empty] | 4.4
4.44
| RMSE | 0.17989 | [6 empty] | 4.48
4.52
| Parameter | Estimate | SE | t | DF | p-value |  |  | 4.56
| Constant | 2.263 | 0.62574 | 3.6165 | 6 | 0.011143 |  |  | 4.6
| X | -2.308 | 0.81794 | -4.0443 | 6 | 0.0067697 |  |  | 4.64
| X2 | 1.2016 | 0.30359 | 3.958 | 6 | 0.0074688 |  |  | 4.68
| X3 | -0.12542 | 0.03352 | -3.7415 | 6 | 0.0096049 |  |  | 4.72
4.76
| 1 Nonlinear parameter is different from 0 at the 5% significance level. | [7 empty] | 4.8
4.84
| Source | SS | DF | MS | F | p-value |  |  | 4.88
| Lack of fit | 0.18361 | 1 | 0.18361 | 87.0173 | 0.00023837 |  |  | 4.92
| Pure error | 0.01055 | 5 | 0.00211 |  |  |  |  | 4.96
| Model error | 0.19416 | 6 | 0.032359 |  |  |  |  | 5
1.0312
1.0312
1.0213
1.014
1.0092
1.0069
1.007
1.0096
1.0145
1.0217
1.0312
1.0428
1.0567
1.0726
1.0906
1.1107
1.1326
1.1566
1.1823
1.2099
1.2393
1.2704
1.3032
1.3376
1.3736
1.4111
1.4501
1.4906
1.5324
1.5756
1.6201
1.6658
1.7127
1.7608
1.8099
1.8601
1.9114
1.9635
2.0166
2.0705
2.1253
2.1808
2.237
2.2939
2.3514
2.4095
2.4681
2.5272
2.5867
2.6466
2.7068
2.7673
2.828
2.8889
2.95
3.0111
3.0723
3.1334
3.1946
3.2556
3.3164
3.3771
3.4375
3.4976
3.5574
3.6167
3.6757
3.7341
3.792
3.8493
3.906
3.962
4.0173
4.0718
4.1255
4.1783
4.2301
4.281
4.3309
4.3797
4.4274
4.474
4.5193
4.5634
4.6061
4.6475
4.6875
4.7261
4.7631
4.7986
4.8325
4.8648
4.8953
4.9241
4.9512
4.9764
4.9997
5.021
5.0404
5.0578
5.0731
5.0862
1
2
3
4
5
0.995
1.595
2.55
4.375
5.05
0.5
5.5
0
0
0.735
1.824
2.913
4.002
5.091
0.29621
-0.37386
-0.14571
0.22814
-0.0047857
0.6371
0.8329
0.6371
0.8329
0.735
0.735
1.7261
1.9219
1.7261
1.9219
1.824
1.824
2.8151
3.0109
2.8151
3.0109
2.913
2.913
3.9041
4.0999
3.9041
4.0999
4.002
4.002
4.9931
5.1889
4.9931
5.1889
5.091
5.091
0.44972
0.44972
0.14271
0.14271
0.14271
0.44972
-0.20415
-0.20415
-0.54357
-0.54357
-0.54357
-0.20415
-0.013596
-0.013596
-0.27783
-0.27783
-0.27783
-0.013596
0.39785
0.39785
0.058433
0.058433
0.058433
0.39785
0.14872
0.14872
-0.15829
-0.15829
-0.15829
0.14872
0.735
1.824
2.913
4.002
5.091
0.735
1.824
2.913
4.002
5.091
-0.4
-0.4
-0.4
-0.4
-0.4
0.4
0.4
0.4
0.4
0.4
2
2
1
1
1
1
1